## Lot 1 – ASHP & UFH
Item Description | Quantity | Unit | Unit Rate (£) | Total Cost (£) | VAT (%) | Total incl. VAT (£) | Lead Time/Delivery Duration
Removal of existing flooring (Approx) | 250 | m² |  | 0 | 20 | 0
Installation of PIR insulation (Approx) | 250 | m² |  | 0 | 20 | 0
Installation of DPM (Approx) | 250 | m² |  | 0 | 20 | 0
Installation of UFH pipework (Approx) | 250 | m² |  | 0 | 20 | 0
Installation of liquid screed (Approx) | 250 | m² |  | 0 | 20 | 0
Supply and install ASHP 14kW | 2 | unit |  | 0 | 20 | 0
Supply and install ASHP 11.2kW | 1 | unit |  | 0 | 20 | 0
Supply and install buffer tanks (As required) | 3 | unit |  | 0 | 20 | 0
Electrical infrastructure for ASHP | 1 | lot |  | 0 | 20 | 0
Plumbing infrastructure for ASHP | 1 | lot |  | 0 | 20 | 0
Heating Controls as per required Zones and sub zones (Attached Seperately) | 5 | unit |  | 0 | 20 | 0
Additional radiators for ladies' prayer room in accordance with BTU requirements | 1 | lot |  | 0 | 20 | 0
Smart thermostats with mobile app control | 6 | unit |  | 0 | 20 | 0
Commissioning and handover documentation | 1 | lot |  | 0 | 20 | 0
Maintenance and aftercare proposal | 1 | lot |  | 0 | 20 | 0
|  |  | Grand Total (£): | 0 |  | 0
Important Notice to Bidders
All pricing fields in this schedule are mandatory.
Failure to complete any item, omit pricing, or leave required fields blank will result in automatic disqualification from the tender process.
Please ensure all quantities are priced accurately and VAT is clearly indicated.
specify the expected number of working days or weeks for delivery of each item
highlight any critical path items or dependencies

## Lot 2 – Solar PV & EV
Item Description | Quantity | Unit | Unit Rate (£) | Total Cost (£) | VAT (%) | Total incl. VAT (£) | Lead Time/Delivery Duration
Supply and install 35KW additional solar panels (Aiko or equivelant) | 35kw | unit |  |  | 20 | 0
Supply and install 80kw Solar Battery Storage | 80kw |  |  |  | 20 | 0
Supply and install 50kW EV chargers | 3 | unit |  | 0 | 20 | 0
Supply and install inverter | 1 | unit |  | 0 | 20 | 0
Supply and install optimisers (to match panel requirements) | 77 | unit |  | 0 | 20 | 0
Supply and install isolators | 3 | unit |  | 0 | 20 | 0
Supply and install racking system | 1 | lot |  | 0 | 20 | 0
Online monitoring dashboard | 1 | lot |  | 0 | 20 | 0
Smart Local Energy System (SLES) integration | 1 | lot |  | 0 | 20 | 0
Connection to existing solar panels | 1 | lot |  | 0 | 20 | 0
Commissioning and handover documentation | 1 | lot |  | 0 | 20 | 0
Maintenance and aftercare proposal | 1 | lot |  | 0 | 20 | 0
|  |  | Grand Total (£): | 0 |  | 0
Important Notice to Bidders
All pricing fields in this schedule are mandatory.
Failure to complete any item, omit pricing, or leave required fields blank will result in automatic disqualification from the tender process.
Please ensure all quantities are priced accurately and VAT is clearly indicated.
specify the expected number of working days or weeks for delivery of each item
highlight any critical path items or dependencies
Optional Enhancements / Alternative Proposals
Item Description | Unit | Rate (£) | Total (£) | Lead Time / Delivery Duration
Note: Pricing will be evaluated in conjunction with quality and value, not solely on lowest cost.